# Lab Safety Quiz

- What section of the SDS contains the Hazards Identification information for a given substance or mixture?

- Section 2

- Section 1

- Section 12

- Section 16

- How often should lab staff flush the eyewash stations in their spaces?

- Only in an emergency

- Annually

- Monthly

- Weekly

- In the Globally Harmonized System (GHS), severity of hazards is numbered from ___ (least severe) to ___ (most severe)

- Which routes of entry would be of primary concern when working with solvents? (select all that apply)

- Inhalation

- Ingestion

- Absorption

- Injection

- True or False: You do not have to disclose your medical history to lab personnel.

- Who is the best advocate for a lab worker’s personal safety and health?

- That lab worker’s primary care provider (PCP)

- The lab’s PI or CHO

- That lab worker

- OSHA

- Which of these is an accurate description of what an SDS provides for a given substance or mixture?

- The sum of chemical knowledge

- Important data known at the time of publication

- Detailed disposal procedures

- All relevant information at the time of publication

- True or False: If I’m wearing a face shield, I don’t need to wear eye protection.

- How does a clean and organized work environment contribute to lab safety? (select all that apply)

- There is no contribution.

- It satisfies the OSHA Lab Standard.

- It satisfies UM policy.

- There is a decreased likelihood of injuries or accidents.

- Before commencement of lab duties, all lab workers must read the ______

- Newest Emergency Response guide.

- UM policy on respiratory protection.

- Chemical Hygiene Plan

- OSHA Compliance guide for general Industry.

- When using a fume hood, keep all apparatus at least ______ back from the face of the hood.

- 6 inches

- 12 inches

- 1 inch

- If there’s room in the hood, it doesn’t matter

- When an accident or injury occurs while working in the lab how soon should it be reported and to who?

- Never, no one

- Immediately, Supervisor

- The next day, lab colleague

- Immediately, University President

- When is it permissible to carry a pressurized cylinder up or down stairs?

- If you have a cart with a strap

- Only when going down the stairs

- When the cylinder is empty

- Never

- How should one dispose of hazardous waste?

- Anything less than 2kg can go down the drain or in the landfill

- Follow the instructions in the SDS

- Consult your lab’s CHO and/or PI

- Accumulate waste indefinitely in the lab

- Which hazard is indicated by the following pictogram?

- Oxidizer

- Corrosive

- Acute Toxicity

- Health Hazard

- I’ve only been wearing these disposable gloves for a few minutes, but a hazardous chemical splashed onto them. I should...

- Keep working, since there is no obvious damage

- Keep working, because you know these gloves are rated for this chemical

- Pause work to wipe off glove before continuing

- Pause work to evaluate glove condition and likely don a new pair

- Where can one find hazardous material emergency contacts and the location of emergency equipment on campus?

- UM website

- RCRA Posting in your lab

- EPA website

- Ask a coworker in the event of an emergency

- Who is affected by, and can affect, water quality?

- Dilution is always a sufficient solution to pollution

- Governmental regulators (EPA, DEQ)

- All humans

- All living beings