## Facilities Condition Index

Definitions

## PRIORITIZED RATING SYSTEM

Priority	Definition

| 1 | SAFETY — Situations or conditions that pose an immediate danger to life, limb or property, if the deficiency is not corrected. |
| --- | --- |
| 2 | DAMAGE/WEAR OUT — Potential for serious damage to the building or the building components if the deficiency is not corrected. |
| 3 | CODES/STANDARDS — Building codes and/or institutional construction standards were not met during construction or renovation. Condition may or may not represent an urgent situation if deficiency is not corrected. This category does not include grandfathered deficiencies due to changes in subsequent codes. |
| 4 | ENVIRONMENTAL IMPROVEMENTS — Correctable deficiencies that will improve system operations and increase the comfort level of the building occupants. |
| 5 | ENERGY CONSERVATION — Amelioration or upgrading of the operating systems in order to reduce energy consumption in the building. |
| 6 | AESTHETICS — Renovation/maintenance designed to improve the appearance of the building. |
| 7 | OTHER — Renovation/Adaptive, Life Safety/Code upgrades, i.e., ADA. These items are not calculated as part of the building’s total deferred maintenance, but priority 7 is frequently used to note other building needs. |

For FCI purposes, the inspection team assesses a building by determining and documenting deficiencies that exist in each system and component listed below that occurs in the building.

System			Component Code and Definition

System 1 — Foundation	1A	Footings/Foundation Walls

1B	Exterior Steps/Retaining Walls

System 2 — Envelope	2A	Exterior Walls

2B	Exterior Windows

2C	Exterior Doors/Hatches

2D	Interior Columns/Beams

System 3 — Floor System	3A	Structure

3B	Stair Treads/Risers

System 4 — Roof System	4A	Structure

4B	Covering

4C	Insulation

System 5 — Finishes	5A	Interior Walls

5B	Ceilings

5C	Interior Doors/Hardware/Windows

5D	Floor Finishes

5E	Paint

System 6 — Specialties	6A	Toilet Partitions

6B	Signage/Directories

6C	Fixed Seating/Risers

6D	Chalk/Tackboards/Cabinets

6E	Fume Hoods

6F	Lockers

6G	Cells and Visitor Cubicles

6H	Ansul Hoods

6I	Swimming Pool

System 7 — H & V System	7A	Heating

7B	Ventilating

7C	Cooling

System 8 — Plumbing System	8A	Fixtures

8B	Supply Piping

8C	Waste Piping

System 9 — Electrical System	9A	Building Service

9B	Lighting

9C	Distribution

System 10 — Conveying	10A	Elevator/Lift

System 11 — Safety Systems	11A	Egress

11B	Extinguishing System

11C	Exit Signs/Emergency Lighting/Alarms

11D	Asbestos/Hazardous Materials

11E	Handicap Accessibility